**ABB PCM600 – Download & Installation procedure for Microprocessor track REF615 and Generation track REG650**

(Time taken : Approx 45 min)

1. **CREAT AN ACCOUNT**

Hit this link <https://www143.abb.com/SoftwareLibrary> OR copy and paste it on your web browser

Hit LOGIN

Click on “Don’t have ABB Substation Automation software library account? Please register” link

Enter all the required information for registration and hit SUBMIT

Account activation information page 🡪 Complete registration process (Email will be send to your inbox with activation code)

After activating your account the link will take you again to the web page <https://www143.abb.com/SoftwareLibrary>

1. **DOWNLOAD & INSTALL PCM600 ver 2.4SP1**

LOGIN using the username and password created

Hit Library tab 🡪 Under PCM600 ver 2.4 SP1 **(Note : Please do not select PCM600 ver2.5)**🡪 Select Complete installation package (including 2.4 and SP1 for new installation) 🡪 Request file 🡪 Download file from the link sent to you inbox (Takes approx. 10min)

INSTALL the downloaded file 🡪 Start installation process and follow the procedure 🡪 Check the boxes (if not already done) Protection & Control IED Manager, Generic IED61850 IED Connectivity Package, WaveWin ABB (DR evaluation software) 🡪 Select “TYPICAL” installation (Takes about 15 min)

(NOTE : If your computer firewall prevents successful installation, please consult your IT administrator)

After successful installation check your desktop. You will note three new icons – PCM600, Update Manager, WaveWin

1. **DOWNLOAD & INSTALL CONNECTIVITY PACKAGE**

OPEN Update Manager from your desktop

From the drop down menu on the top SELECT – “Show all available updates” (It will take few minutes to populate the updates)

GO TO Connectivity Packages tab

**IF YOU ARE ATTENDING MICROPROCESSOR RELAY TRACK REF615 DOWNLOAD AND INSTALL THE FOLLOWING OTHERWISE SKIP THESE STEPS AND GO TO GENERATOR TRACK INSTRUCTIONS AFTER THIS SECTION:**

DRILL DOWN 615 SERIES 🡪 Select 4.0.3 ANSI 🡪 Select REF615 ANSI 4.0.3 🡪 Download (This takes few minutes. If you get error message due to internet issues please try again) 🡪 After the download hit INSTALL and follow the procedure.

**IF YOU ARE ATTENDING ONLY GENERATION TRACK REG650 PLEASE DOWNLOAD AND INSTALL THESE:**

DRILL DOWN 650 Series connectivity package base 1.2.1 🡪 Download (This takes few minutes. If you get error message due to internet issues please try again) 🡪 After the download hit INSTALL and follow the instructions on the screen

NEXT

DRILL DOWN REG650 🡪 Select REG650 module 1.2.1 🡪 Download (This takes few minutes. If you get error message due to internet issues please try again) 🡪 After the download hit INSTALL and follow the instructions on the screen

====================================================================================

**If you need further assistance please contact:**

Joe Xavier – 972 567 2378

OR

Eduardo Colmenares – 925 212 7886