SPC IN-SERVICE READINGS WORKSHEET

Date:___________________________                        Name:____________________________

## Location:_____________________________________________________________________

Reference Source:__________________________    Leads or Lags   (Circle One)

| CT RATIO: | :1 | PT RATIO: | :1 |
| --- | --- | --- | --- |
| Ipol RATIO: | :1 | Epol RATIO: | :1 |

| B O A R D M E T E R R E A D I N G S |
| --- |
| A( AMPS | B( AMPS | C( AMPS | MW | MVAR | VOLTS |

| Relay Type – Info: |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1V |  |  |  |  |  |  |  |  |
| 2V |  |  |  |  |  |  |  |  |
| 3V |  |  |  |  |  |  |  |  |
| 1V-2V |  |  |  |  |  |  |  |  |
| 2V-3V |  |  |  |  |  |  |  |  |
| 3V-1V |  |  |  |  |  |  |  |  |
| Eres. |  |  |  |  |  |  |  |  |
| Epol. |  |  |  |  |  |  |  |  |
| 1A |  |  |  |  |  |  |  |  |
| 2A |  |  |  |  |  |  |  |  |
| 3A |  |  |  |  |  |  |  |  |
| Ires. |  |  |  |  |  |  |  |  |
| Ipol. |  |  |  |  |  |  |  |  |

(PAGE ____ OF ____)

| WORK CHECKSHEET |
| --- |
|  | Backstops Cleaned? |  | Connections Tightened? |  | Contacts Inspected? |  | Locknuts Tightened? |  | Hardware Checked”? |  | Mechanical Parts OK? |  | Taps Tightened? |
|  | Settings Made? |  | Shorting Bars OK? |  | Test Switches? |  | RTS/RSS, etc? |  | Leads/Paper Removed? |  | Glass/Relay Cleaned? |  | Work Permit? |

(PAGE ____ OF ____)